Phytochemical Screening, Development and Validation of HPLC method for Isolated Stigmasterol from Ocimum sanctum.
Apporva Chawla1, Atinderpal Singh1, Shaina Sharma1, Varinder Soni1

1 Khalsa College of Pharmacy, Amritsar
Article send by
Varinder Soni
varinder soni varindersoni2@gmail.com
varinder soni varindersoni2@gmail.com
ABSTRACT: 
Stigmasterol is the abundant phytoconstituent present in the leaves of Ocimum sanctum, having a major function to maintain the structure and physiology of cell membranes. The dried leaves of Ocimum sanctum was subjected to extraction, preliminary phytochemical screening and then isolation. The identification of the isolated compound was confirmed by TLC, HPLC profile and spectral studies by comparing with the standard. RP-HPLC method were developed and validated as per ICH guidelines using the isolated biomarker compounds such as stigmasterol. Results of HPLC analysis of isolated compound shows the presence of stigmasterol which is confirmed by the single peaks present in the chromatogram at 3.18 retention time (in mins). The reported data may be of great value as a reference standard for evaluation of the isolated compound.
Keywords : Ocimum sanctum, stigmasterol, RP-HPLC 
INTRODUCTION:
The interest for herbs are developing step by step all through the world and major pharmaceutical organizations are at present board research take a shot at plant materials for their potential restorative value [1]. The tranquilize revelation process is developing costly step by step. The drug discovery process is more complex and risky investment, drugs in the development pipeline are failing at the end of Phase 3 or Phase 4, making it more expensive and time consuming. Powerful new technologies such as high throughput systems and combinatorial chemistry are revolutionizing drug discovery, but natural products still offer unmatched structural varieties [2].
Ocimum sanctum is a traditional or holy Indian herb belonging to family Liliaceae. Traditionally, Ocimum sanctum (Tulsi) is taken in many forms like as herbal tea, dried powder, fresh leaf, or mixed with Honey or Ghee. It has endless miraculous medicinal values and diverse pharmacological actions on cardiovascular system, respiratory system, lung infections, etc. Antimicrobial activity of Ocimum sanctum has been tested against a wide range of microorganisms [3]. Recent studies show that it is valuable in growth inhibition of HIV [4] and tumor cells [5,6].
Plant sterols (i.e. phytosterols) which are cholesterol like substances represent an important group of compounds in unsaponifiable plant oils that confer biological activities to the oils. The rationale behind choosing phytosterols is that they have various medicinal advantages like they have reported antidiabetic activity, anti-inflammatory, anti-fungal, anti-ulcerative, antibacterial and anticancer activities. Therefore, phytosterol enriched products have been engineered and marketed as they lowers serum cholesterol level and thus preventing cardiovascular risk [7]. Stigmasterol (Fig1) is reported to have antioxidant, thyroid inhibitory, antiperoxidative, hypoglycaemic [8,9] hypocholesteromic [10] and anti-inflammatory activity [11].
                          [image: image10.jpg]BEsHimanzu

Comment: No. of Scans:
Azs

Date/Time: 5/10/2018 3:35:00 PM

Resolution:

User. laureate
Apodization:




                                                 Fig 1: Stigmasterol 

To date, much research has been attentive on the analysis of saponins, but only few studies have focused on phytosterols in Ocimum sanctum. Thus, we aimed to analyze the phytosterol content in the leaves of Ocimum sanctum using high-performance liquid chromatography (HPLC).
MATERIAL AND METHODS

PLANT MATERIAL: The fresh leaves of Ocimum sanctum (Linn.) were collected from village Jahangir (31˚30’070”N 75˚02’16.0”E) district-Tarn-taran, Punjab, India, in the month of August.

AUTHENTICATION OF PLANT MATERIAL: The samples of Ocimum sanctum Lin. has been authenticated by Dr. Parveen Kumar Ahuja, Assistant Professor, Department of Agriculture, Crop Protection Division (Agriculture Botany), Khalsa College, Amritsar, Punjab, India with Reference number TU-1603181534. 

EXTRACTION: Extensive literature survey on the extraction of phytosterols was done and all the methods were tried one by one individually or in combination. Finally, the maximum yield was found with extraction by the process of maceration with ethanol. Coarsely powdered leaves were placed in conical flask and defatted using petroleum ether. The extraction was made by 99% ethanol by maceration process.
PHYTOCHEMICAL SCREENING: Chemical tests were performed for phytochemical screening of secondary metabolites such as alkaloids, anthraquinone glycosides, cardiac glycosides [12, 13], saponins, glycosides and phytosterols, carbohydrates, phenolic compounds, tannins, flavonoids [13, 14], proteins and amino acids [15].
THIN LAYER CHROMATOGRAPHY: Thin Layer Chromatography (TLC) pre-coated plates (Merck: 20x20 cm; with thickness 0.2-0.3mm) were used. The ethanolic extract of Ocimum sanctum was subjected to thin layer chromatography using mobile phase Toluene: Ethyl acetate: Formic acid (8.5:1:0.5). The Rf value of standard and test compounds were compared [16,17].
ISOLATION AND FRACTIONATION: The column chromatographic assembly (column length x diameter = 400 x 50 mm) was set for the isolation of compounds from extracts. The pre-activated silica gel (60-120 mesh size) was used for column packing. 20g of semisolid extract was accessed into the packed column. The mobile phase in combination (Toluene: Ethyl acetate: formic acid :: 8.5:1:0.5) was used. The solvent level was maintained 2.5 cm above the extract. The isolated fractions were collected drop by drop in separate volumetric flasks [18].
CHARACTERIZATION:
Thin layer chromatography (TLC): The isolated fractions were subjected to thin layer chromatography for the identification of the eluted constituents and then observed under UV at 254 and 365nm [16].
Fourier-transform infrared (FTIR) spectroscopy:The FTIR spectra of marker compound and isolated stigmasterol were recorded using Shimadzu infra-red spectrophotometer in the wavelength region of 4000 to 400 cm-1.Drug sample and potassium bromide were mixed uniformly and filled into the die cavity of sample holder and an IR spectrum was recorded [18].
METHOD DEVELOPMENT:
ULTRA-VIOLET (UV) SPECTROSCOPY: 

Determination of λmax: Stigmasterol was uniformly mixed with chloroform and scanned between 200-400nm and the λmax of stigmasterol was found to be 210nm.

Construction of calibration curve: The calibration curve of stigmasterol was made by plotting the absorbance of concentration range of 5, 10, 15, 20, 25µg/ml of solution with chloroform at a λmax of 210nm.
RP-HPLC METHOD DEVELOPMENT:
Table 1: Optimized chromatographic conditions for estimation of stigmasterol

	Mobile phase
	Acetonitrile 0.1% acetic acid :: 90:10 v/v

	Pump mode
	Isocratic 

	Diluents 
	Mobile phase

	Column 
	C-18 column (250×4.6×0.5)

	Column temperature 
	Ambient 

	Wavelength 
	210nm

	Injection volume 
	20µl

	Flow rate
	1.2ml/min

	Run time
	15 min.

	Retention time 
	3.35 min.


The separation was performed on an Agilent C18 column (particle size 5 μm, 250 mm x 4.6 mm) (Agilent technologies, USA). Chromatographic data was recorded and processed using a LC100 Chromatographic Station. Mobile phase consisting of Acetonitrile: 0.1% Acetic acid (90:10) was used. Solvents used were of HPLC grade. Analysis was isocratic at 1ml/min flow rate and sample volume was 20μl. Peaks were integrated at the wavelength of 210 nm [19].
Preparation of standard stigmasterol solution: Standard stock solution of Stigmasterol 1000 μg/ml was prepared from which working stock solution of 20 μg/ml was made by dilution with chloroform.
Preparation of sample stigmasterol solution: Working sample solutions were prepared from 1μg/ml stock solution by diluting with chloroform to furnish five different concentrations of 10, 20, 30, 40 and 50 μg/ml.
VALIDATION:  Validation is done as per ICH guidelines. The parameters studied for validation were specificity, linearity, precision, accuracy, robustness, system suitability, limit of detection, limit of quantification and solution stability [20].
RESULTS AND DISCUSSION:
 Phytochemical screening:
      Table 2: Phytochemical screening of stigmasterol

	Tests
	Observation
	Results

	
	
	HLE
	ELE

	Test for steroid

	a. Salkowski reaction
	Chloroform layer appear red and acid layer shows greenish yellow fluorescence
	++
	+

	b. Liebermann – burchard reaction
	First red, then blue and finally green colour appears
	++
	+


Thin layer chromatography:

TLC of ethanolic extract of stigmasterol: 

                                                                                                                                             [image: image2.png]G ch-6 - Microsoft Word -
&)
A
¥ ; &
- [ o S AR R TN KK AN KR AN K SN X T TR RIS KRR R 1 &
The ethanol extract of Ocimum sanctum leaves was subjected to TLC analysis using solvent
system Toluene:Ethyl acetate: Formic acid (8.5:1:0.5) as mobile phase and the Rf values and
N g of the spots were recorded and mentioned in table 6.8. The TLC image of standard
B and test showed in Fig 6.4
: . X . -
= T 095
o
- . |
- .
~ osr
B oss
' -
- | O B B Spot i‘-
- Fig. 6.4: TLC of ethanolic extract of Qcimum sanctum (a) Short wave (b) Long wave ()
- Todine yapour (d) TLC of standard (stigmasterol) and test extract
- Table 6.3: TLC profile of ethanolic extract of Ocimum sanctum leaves 5
; o
- ‘ Sr.ne. ‘ Mobile phase ‘ Rf value d
Page: 8 of 3 Words: 5,630 8  English (United States) EEE] 10036 () +)

1028PM
H QO Type here to search %00 gy O




Fig.2: TLC of ethanolic extract of Ocimum sanctum (a) Short wave (b) Long wave (c) Iodine vapour (d) TLC of standard (stigmasterol) and test extract
Table 3: TLC profile of ethanolic extract of Ocimum sanctum leaves 

	S. No.

	Mobile phase
	Rf value

	
	
	Short wave
	Long wave
	Iodine vapour

	1. 
	Toluene :Ethyl acetate: Formic acid (8.5:1:0.5)
	0.10, 0.16, 0.34, 0.47, 0.61
	0.33, 0.55, 0.64, 0.73, 0.75
	0.33, 0.55, 0.66, 0.75, 0.86


TLC of Isolated Stigmasterol:

    [image: image3.jpg]


           

Fig 3: TLC of isolated stigmasterol
[image: image1.jpg]


FTIR spectroscopy:
                           Fig 4: FT-IR spectra of standard stigmasterol

[image: image4.jpg]EBsHIMADZU

20—
s

T
4000 750 3500 3250 3000 2750 2500 2250 2000 1750 1500 1250 1000 750
A2T em

Comment: No. of Scans: Date/Time: 5/14/2018 4:16:38 PM
A2T Resolution:

Apodization:

User: laureate




                      Fig 5: FT-IR spectra of isolated stigmasterol

     Table 4: FT-IR data of standard and isolated stigmasterol

	S. No.
	Standard Stigmasterol

Frequency cm-1
	Isolated compound

Frequency cm-1
	Assigned grouping



	1. 
	799.53
	821.71
	=C-H

	2. 
	970.24
	973.13
	=C-H

	3. 
	1053.81
	1043.53
	C-O

	4. 
	1457.28
	1458.25
	C-H

	5. 
	2934.82
	2927.10
	O-H Stretch


UV Spectroscopy:
λmax determination of isolated stigmasterol:
[image: image5.png]200 210 220 230 240 250 260 270 230 230 300 310 320 330 340 350 360 370 380 390 400
Wave





          Fig 6: UV survey scan of stigmatsterol
Calibration curve of isolated stigmasterol      [image: image6.png]0.7

absorbance (nm)

concentration v/s absorbance

y =0.0338x-0.0032
R?=0.9999

——Series1

—— Linear (Series1)

5 10 15 20 25

concentration (ug/ml)

30




 
      Fig 7: Calibration curve of stigmasterol
 RP-HPLC method development:

[image: image7.png][maL)

EES)

1600.000

1200000

00000

400000

00m —————t —— —
000 100 200 300 400 500 600 700 00 a0 1000




          Fig 8: HPLC chromatogram of standard stigmasterol

[image: image8.png]1600000

1200000

00000

400000

00m
000 1.0 200 300 400 500 600 700 00 a0 100





       Fig 9: HPLC chromatogram of isolated stigmasterol

Method Validation: 
Linearity:

Table 5: Linearity range determination of the developed HPLC method of stigmasterol

	S.no.
	Concentration (µg/ml)
	Area under the curve (AUC)

	1.
	2
	51127

	2.
	4
	100785

	3.
	6
	151768

	4.
	8
	201825

	5.
	10
	270500

	Slope 
	26989

	R2
	0.995

	Intercept 
	6734


[image: image9.png]Area under curve

300000

250000

BN
8 8 8
8 8 8
8 8 8

50000

Area v/s concentration

Yy =26989x+ 6734
R?=0.995

& area

—— Linear (area)

5 10
concentration (ug/ml)

15





                               Fig 10: linearity range curve of stigmasterol

Accuracy:

                  Table 6: Accuracy data for area under the curve (AUC) of the 

                                Developed HPLC method of stigmasterol

	S.no. 
	Concentration 
	AUC

	1.
	2
	51145

	2.
	2
	51540

	3.
	2
	52195

	4.
	2
	51280

	5.
	2
	51346

	Mean ±S.D.
	51501.2 ± 413.146

	         %RSD
	0.802


Precision:

Intra-day precision:
Table 7: Intra-day precision data for peak areas of the developed

                         HPLC method of stigmasterol

	S. no.
	Concentration 
	AUC

	1.
	6
	150948

	2.
	6
	151250

	3.
	6
	151506

	4.
	6
	152896

	5.
	6
	152994

	        Mean ± S.D.
	151918.8 ± 958.008

	          % RSD
	0.630


    Inter-day precision:

        Table 8: inter-day precision data for peak areas of the developed 

                                HPLC method of stigmasterol

	S. no.
	Concentration 
	AUC

	1.
	6
	150724

	2.
	6
	151115

	3.
	6
	151606

	4.
	6
	152355

	5.
	6
	152702

	Mean ±S.D.
	151700.48 ± 827.1434

	% RSD
	0.545


Robustness:

Table 9: Robustness data at different flow rate and λmax for peak areas of the developed HPLC method of stigmasterol
	Sr.no.
	Condition 
	Concentration

(µg/ml)
	Area 
	Mean ± S.D.
	%RSD

	1
	At λmax 210
	6
	150946
152247

152792
	151995 ± 948.449
	0.624

	2
	At λmax 212
	6
	150635
152206

152492
	151777.66 ± 999.857

	0.658


	3
	Flow  rate at 1.2ml/min
	6
	151998
153905

152886
	152951.57 ± 953.57
	0.623

	4
	Flow  rate at 1 ml/min
	6
	151950
153880

152958
	152915.07 ± 965.07
	0.631


  Limit of Detection (LOD) and Limit of Quantification (LOQ):

              Table 10: LOD and LOQ data of developed HPLC method of stigmasterol

	Sr .no 
	Parameters
	Conc. In µg/ml

	1
	LOD
	0.914 (μg/ml)

	2.
	LOQ
	2.77 (μg/ml)


CONCLUSION:
A simple, specific, precise, rapid, and reproducible HPLC method has been developed to stigmasterol using relevant marker compounds in extracts of Ocimum sanctum leaves. The isolated compound (stigmasterol) had potential of anti-diabetic as comparable to standard metformin.
REFERENCES:

1) Pan S Y, et al; New Perspectives on How to Discover Drugs from Herbal Medicines: CAM's Outstanding Contribution to Modern Therapeutics. Evidence-based complement alternate medicine 2013; 627375.
2) Lahlou M. The Success of Natural Products in Drug Discovery. Pharmacology & Pharmacy 2013; 4: 17-31
3) Prakash P,et al; Therapeutic uses of Ocimum sanctum Linn (Tulsi) with a note on Eugenol and it’s pharmacological actions: A short review. Indian J Physiol Pharmacolology 2005; 49(2): 125-131
4) Rege AA, et al; In-vitro testing of anti-HIV activity of some medicinal plants. Indian Journal of Natural Products and Resources, June 2010, Vol.1(2); 193-199.

5) Flegkas A, et al; antiproliferative activity of (-)-Rabdosiin isolated from Ocimum sanctum L., Medicines (Basel) 2019; 6(1): 37.
6) Singh N, et al; Therapeutic Potential of Ocimum sanctum in prevention and treatment of cancer and exposure to radiation: An overview. International Journal of Pharmaceutical Sciences and Drug Research 2012; 4(2): 97-104.  

7) Luo X, et al; Advances in Microalgae-Derived Phytosterols for Functional Food and Pharmaceutical Applications. Marine Drugs 2015 Jul; 13(7): 4231–4254
8) Panda S, et al; Thyroid inhibitory, antiperoxidative and hypoglycemic effects of stigmasterol isolated from Butea monosperma.  Fitoterapia 2009; 80 [2]: 123-126.

9) F. Jamaluddin, et al; Hypoglycaemic effect of Parkia speciosa seeds due to the synergistic action of β-sitosterol and stigmasterol. Food Chemistry, 49 (1994), 339-345

10)  Battaab AK, et al;  Metabol-Clin. Experimental., 55 (2006), pp. 292-299

11) Gabay J O H, et al ; Osteoarthritis Cartilage, 16 (2008), p. 153

12) Ayoola GA, et al; Phytochemical screening and antioxidant activities of some selected medicinal plants used for malaria therapy in southwestern Nigeria. Tropical journal of pharmaceutical research, 2008; 7[3]: 1019-1024

13) Njoku OV, et al; Phytochemical constituents of some selected medicinal plants. African Journal of Pure and Applied Chemistry 2009; 3: 228-23

14) Naz R, et al; Phytochemical screening, antioxidants and antimicrobial potential of Lanatana camara in different solvent. Asian Pacific Journal of Tropical Disease 2013 Dec; 3(6): 480-486

15) Trease GE, et al; Textbook of pharmacognosy, London; Balliere Tindall,1985

16) Stahl, E., 1969. Thin layer chromatography: A laboratory handbook, 2nd edition, springer, New York, USA.

17) Rout KK, et al; Thin-Layer Chromatographic separation and validated method for quantification of ursolic acid in various Ocimum species. Journal of Food and Drug analysis, Vol.20, No.4, 2012, 865-871

18) Patil R, et al; Isolation and Characterization of anti-diabetic component (bioactivity guided fractionation) from Ocimum sanctum L. aerial part. Asian Pacific Journal of Tropical Medicine 2011; 27
19) Shanmuga Sundaram R, et al; Quantification of Bioactive Principles in Indian Traditional Herb Ocimum sanctum Linn. (Holy Basil) Leaves by High Performance Liquid Chromatography. Asian Journal of Biomedical and Pharmaceutical Sciences. 2011; 1(3): 22-28.
20)  Snyder LR, et al; “Practical HPLC method development” 2nd edition 1988: 533.
